## README
AquaPIP Stats Workbook — Autonomous Sensor Buoy (Protocol ID: schmidt_2018)
What this is
Validation + quality-control companion to the 'Continuous Water-Quality Monitoring with a Low-Cost Autonomous Sensor Buoy' protocol. The raw continuous water-quality data live in the sensor CSV exports (tens of thousands of rows) — NOT in this workbook. This workbook does two jobs a spreadsheet is good for: (1) validate the sensors against an independent reference (RMSE + bias), and (2) track quality-control removals. Continuous plotting is a dashboard/script job (see Time-series & dashboard).
How to use
1. Sensor Validation — one row per maintenance-visit reading: enter the sensor value and the paired independent-reference value; the difference and its square are computed. The summary block returns RMSE and bias per parameter.
2. Rows 2–4 are a worked EXAMPLE (shaded yellow) — overwrite them with your own paired readings.
3. QC Checklist — the quality-control rules with their ranges; enter how many readings each rule removed to get a % removed.
4. Time-series & dashboard — how to load the CSVs, apply QC, and plot temperature / salinity / dissolved oxygen over time (R recipe).
Legend
■ Teal headers = labels (do not edit). ■ Yellow = example values to overwrite. ■ Difference, RMSE and bias are formulas — leave them alone.
Stats fork for this protocol
SIMPLE (this workbook): sensor-vs-reference RMSE + bias; QC removal accounting.
CONTINUOUS (dashboard / R, see Time-series & dashboard): daily mean / min / max plots of the full time series; stratification and dissolved-oxygen saturation signals.
Source provenance & residual gaps
Generated by AquaPIP from Schmidt et al. (2018), Aquacultural Engineering 80:28–36. Specific sensor models, mooring hardware, depths and logging interval are site choices. QC thresholds follow each sensor's valid range plus a recognised QC standard (e.g. IOOS QARTOD). This protocol omits the WQ 2.1.2 (Microorganisms) mapping carried on the database row — the buoy measures physico-chemical proxies, not microorganisms directly. The example RMSE/bias values are illustrative of the source's reported accuracy, not real readings.

## Sensor Validation
Parameter | Depth (m) | Sensor reading | Reference reading | Difference | Difference²
Temperature | 1.1 | 12.4 | 12.32 | 0.08 | 0.0064
Temperature | 0.8 | 11.1 | 11 | 0.1 | 0.01
Temperature | 0.6 | 13.05 | 13.1 | -0.05 | 0.0025
Validation summary (per parameter)
Parameter | RMSE | Bias
Temperature | 0.079373 | 0.043333
Salinity
Dissolved oxygen
RMSE = √(mean squared difference); Bias = mean(sensor − reference). Edit the parameter labels to match column A.

## QC Checklist
Quality-control rules (enter your removal counts to get % removed)
Total measurements in deployment: |  | 0
QC rule | Range / definition | # removed | % removed
1. Out-of-range removal | Temperature −2 to 30 °C; salinity 1000–55,000 µS cm⁻¹; DO 0–30 mg L⁻¹ | 0
2. Post-event stabilisation | Discard first ~2 h after deployment and after each cleaning | 0
3. Single-anomaly removal | Abrupt jump between consecutive readings | 0
4. Fouling roll-off | Keep pre-drift peak, discard fouled tail before a cleaning | 0
5. Surface-tangle removal | Pressure sensor shows string floated to surface | 0
Enter Total measurements (yellow, top) and each rule's removal count; % removed computes automatically.

## Time-series & dashboard
Plot the continuous record (dashboard / R)
Why
The buoy logs continuously (e.g. every 10 min for months) — far too much for a spreadsheet. Load the CSV exports, apply the QC rules, then summarise to daily mean / min / max and plot. Read temperature across depths for stratification, and dissolved-oxygen super-/under-saturation as a signal of phytoplankton activity.
Steps
1. Export each sensor's log to CSV.
2. Convert conductivity to salinity (PSU) with standard seawater equations; derive water level from the pressure sensor.
3. Apply the QC rules (see QC Checklist).
4. Summarise to daily mean / min / max and plot temperature, salinity and dissolved oxygen over time, with a min–max envelope.
R recipe
library(tidyverse); library(marelac); library(lubridate)
temp <- read_csv("temperature.csv"); cond <- read_csv("conductivity.csv"); do <- read_csv("do.csv")
# conductivity (S/m) -> salinity (PSU)
cond <- cond %>% mutate(salinity = convert_RtoS(conductivity/4.2914, t=temp_C, p=pressure_bar))
d <- bind_rows(temp, cond, do) %>%
filter(qc_pass) %>% # your QC flags
mutate(day = as_date(datetime)) %>%
group_by(parameter, day) %>%
summarise(mean=mean(value), lo=min(value), hi=max(value), .groups='drop')
ggplot(d, aes(day, mean)) +
geom_ribbon(aes(ymin=lo, ymax=hi), alpha=.2) + geom_line() +
facet_wrap(~parameter, scales='free_y')
Column names are illustrative — adjust to your CSV export.